# InSpect and AutoSpect GUI
Instruction Manual

Dr. Andrew M. Crawford, PhD

28 October 2024

Version: 0

# Introduction

This alignment GUI is designed to register elemental maps (e.g., from X-ray fluorescence imaging and Laser-Ablation-inductively-coupled-plasma-time-of-flight-mass-spectrometry imaging), histology, and other techniques for extraction of statistics.

# General

## Available Downloads

### Mac (currently not available)

### Windows

The Windows version of InSpect can be downloaded from the following site.

### Linux (currently not available)

## Data Storage and Access:

### Data Storage

The current version of the InSpect software package stores the GUI data to a *.mat file native to MATLAB and also updates the stored data to the *.h5 file from the TOFWERKS instrument.

### Data Access

#### Elemental Mapping

##### InSpect/AutoSpect

*.mat: The current version of the software can read the *.mat format files save directly from AutoSpect.

##### TOFWERK

*.h5: The current version of the software reads the *.h5 format directly from the S2, R, and 2R instruments from TOFWERK.

# Graphical User Interfaces

## Main User Interface

The main user interface has two main tabs: Drift Correction and Spectral Fitting ().

### (TAB) Drift Correction

- Main background/panel of GUI

  - Directory where the data for the loaded scan is located

  - Load AutoSpect fitted data or InSpect session.

  - Save the current InSpect session. This amends the AutoSpect fitted file.

  - [toggle] magnifying glass – enables zoom for plots. This deactivates the Context Menus when selected.

  - [toggle] data point indicator – data point information. This deactivates the Context Menus when selected.

  - [toggle] pan – enables panning for plots. This deactivates the Context Menus when selected.

- Drift correction variables – measured and fitted values

  - P1 drift corrected as a function of time

  - P2 drift corrected as a function of time

  - P3 drift corrected as a function of time

  - Residual of P1 drift corrected as a function of time

  - Residual of P2 drift corrected as a function of time

  - Residual of P3 drift corrected as a function of time

- Drift corrected spectra

  - Original uncorrected spectra for all the partitions of the dataset

  - Drift corrected spectra for all the partitions of the dataset

  - Comparison of original and drift corrected spectra averages

- Selecting for different parts of the fitted data

  - Spectra: this allows the user to select the different parts of the file, i.e., Sample, Gas Blanks, individual References.

  - “Use” [checkbox] – Toggles whether or not to use the number of spectra listed in c.

  - [popupmenu] – the number of spectra to display for the part of the scan selected (a). If the user selects “Avg (mean)” then it takes the mean of each partition. 2: this will show the first and last partition of each group. 3: this will show the first, last, and middle partition for the selected group. N: shows the first, last, and N-2 equally spaced partitions from the group.

- Program [Menu]

  - Launch AutoSpect:

  - Launch Ion Selection GUI

  - Launch 2 Element Correlation GUI

  - [Launch Retrospect] Open GUI

  - [Launch Retrospect] Run RetroSpect

  - [Launch Retrospect] Run RetroSpect (batch)

- Context Menus

  - List ions/isotopes: this allows the user to draw a rectangle around an energy region and then lists the isotopes in the current lookup table available for fitting.

  - export plot: exports the plot so that the user can save it as an image.

  - change font size: This changes the font size for the GUI

### (TAB) Spectral Fitting

## Supporting GUIs:

### RetroSpect

### Isotope Selection GUI

# Processing Data

## Loading a dataset

## Fitting Datasets

# Data diagnostics